## Contract Filtered Assets List
Tag # | Effective Date | Department | Manufacturer | Model | Model Number | Description | Status | Responsibility | Serial Number | Contract Value | Amendment
2071 | 2026-01-01 | Central Supply | Corporation Steris Canada | AMSCO | Drying Cabinet Connector | AMSCO Drying Cabinet Purge Connector for da Vinci Endiwrist | Active | FSWPS | 2071 | 0,00 | Sterile Processing Additions
55128-020 | 2026-01-01 | OB/GYN Clinic | NANOSONICS LIMITED | trophon2 | N05000-1 | High Level Disinfection System | Active | FSWPA | 55128-020 | 1610,00 | Trophon 2 additions
978414-004 | 2026-01-01 | OB/GYN Clinic | NANOSONICS LIMITED | trophon2 | N05000-1 | High Level Disinfection System | Active | FSWPA | 978414-004 | 1610,00 | Trophon 2 additions
11285929 | 2026-04-01 | Radiology General | Medrad | Stellant Flex | Stellant Flex | Contract Injector, CT | Active | FSPMA | W3ct30000291 | 3000,00 | Equips Transition
31002505 | 2026-01-01 | Central Supply | Steris Mexico, S. de R.L. de C.V. | AMSCO | AMSCO 400 Steam Sterilizer | The AMSCO 400 36 Prevacuum Steam Sterilizer Single Door Left Hinge Recessed Steam is designed for sterilization of materials used in healthcare facilities. | Active | FSWPS | 31002505 | 0,00 | Sterile Processing Additions
31072060 | 2025-11-05 | Central Supply | Steris Mexico, S. de R.L. de C.V. | AMSCO | AMSCO 400 Steam Sterilizer | AMSCO 400 Series 20 -inch Recessed Door Electric ESG 480V with Vacuum Pump | Active | SWEEP | 31072060 | 0,00
32021605 | 2025-11-05 | Central Supply | Steris Mexico, S. de R.L. de C.V. | AMSCO | AMSCO 400 Steam Sterilizer | The AMSCO 400 48 Prevacuum Steam Sterilizer Double Door Left Hinge LR Steam is designed for sterilization of materials used in healthcare facilities. | Active | SWEEP | 32021605 | 0,00
32981924 | 2026-01-01 | Central Supply | Steris Mexico, S. de R.L. de C.V. | AMSCO V-PRO | V-PRO maX | The Amsco V-PRO maX Low Temperature Sterilization System is intended for use in the terminal sterilization of properly prepared (cleaned, rinsed and dried) metal and nonmetal medical devices used in Healthcare Facilities. | Active | FSWPS | 32981924 | 0,00 | Sterile Processing Additions
3602825004 | 2026-04-01 | Central Supply | Corporation Steris Canada | AMSCO | 7052HP | The AMSCO 7052HP Washer-Disinfector with Electric Heat delivers a validated and cleared process for cleaning reusable da Vinci EndoWrist X/Xi, S/Si, and Single-Site instruments and staplers. | Active | FSWPS | 3602825004 | 0,00 | Sterile Processing Additions
3625023022 | 2026-04-01 | Central Supply | Corporation Steris Canada | AMSCO | 7052HP | The AMSCO 7052HP Washer-Disinfector with Electric Heat delivers a validated and cleared process for cleaning reusable da Vinci EndoWrist X/Xi, S/Si, and Single-Site instruments and staplers. | Active | FSWPS | 3625023022 | 0,00 | Sterile Processing Additions
3633619012 | 2026-01-01 | Central Supply | Corporation Steris Canada | Reliance Vision | Single Chamber | The Reliance Vision Single-Chamber Washer Disinfector is intended for use in the cleaning and intermediate level disinfection of soiled reusable utensils, trays, glassware, bedpans and urinals, rubber and plastic goods, simple hard-surfaced rigid surgical | Active | FSWPQ | 3633619012 | 0,00 | Sterile Processing Additions
MRH1519001 | 2026-04-01 | Indian Lake Clinic | GE MEDICAL SYSTEMS, ULTRASOUND & PRIMARY CARE DIAGNOSTICS, LLC | Voluson E6 | Voluson E6 | Ultrasound, Diagnostic, OB | Active | FSWPA | D55850 | 8099,00 | Equips Transition
MRH1522501 | 2026-04-01 | Urbana Clinic | GE MEDICAL SYSTEMS, ULTRASOUND & PRIMARY CARE DIAGNOSTICS, LLC | voluson i bt14 cc200 | voluson i bt14 cc200 | Ultrasound, Diagnostic, OB | Active | FSNPA | bo5450 | 1750,00 | Equips Transition
MRH1530001 | 2026-04-01 | Radiology General | GE MEDICAL SYSTEMS INFORMATION TECHNOLOGIES, INC. | 9900 Elite | 9900 Elite | C Arm, Mobile, Digital | Active | FSNPA | E2-5077 | 4000,00 | Equips Transition
MRH1618701 | 2026-04-01 | Operating Room | Dornier Med Tech | MEDILAS-H | MEDILAS-H | Ho Yag | Active | FSNPA | H30-0703 | 4000,00 | Equips Transition
MRH1717701 | 2026-04-01 | Radiology General | Philips Medical Systems Hsg | EPIQ 5 Diagnostic Ultrasound System | 989605408541 | EPIQ 5 Diagnostic Ultrasound System | Active | FSWPA | US617C0725 | 8645,00 | Equips Transition
MRH1829201 | 2024-09-16 | Urbana Specialty Clinic | NANOSONICS LIMITED | Trophon EPR | N00010-NNA | Trophon EPR Nth America AHECC 8419.20.00 (NNA VARIANT) | Active | FSWPA | 88049-039 | 1610,00
MRH1829202 | 2024-09-16 | OB/GYN Clinic | NANOSONICS LIMITED | Trophon EPR | N00010-NNA | Trophon EPR Nth America AHECC 8419.20.00 (NNA VARIANT) | Active | FSWPA | 88048-078 | 1610,00
MRH1829203 | 2024-09-16 | Radiology General | NANOSONICS LIMITED | Trophon EPR | N00010-NNA | Trophon EPR Nth America AHECC 8419.20.00 (NNA VARIANT) | Active | FSWPA | 88049-055 | 1610,00
MRH1901401 | 2026-04-01 | Obstetrics | GE MEDICAL SYSTEMS, ULTRASOUND & PRIMARY CARE DIAGNOSTICS, LLC | Voluson P8 | Voluson P8 BT 18 | Voluson P8 | Active | FSWPA | Kp8801371 | 4680,00 | Equips Transition
MRH2300401 | 2026-04-01 | Cardiology | GE MEDICAL SYSTEMS INFORMATION TECHNOLOGIES, INC. | Vivid | E95 v206 | Vivid E95 v206 | Active | FSWPA | AU85054 | 5915,00 | Equips Transition
MRH2500605 | 2026-04-01 | OB/GYN Clinic | GE Healthcare Austria GmbH & Co OG | Voluson | E6 BT16 | General-purpose ultrasound imaging system | Active | FSWPA | E03112 | 8099,00 | Equips Transition
MRH2513001 | 2026-05-11 | Radiology General | Hologic, Inc. | 3Dimensions | 3DM-SYS-INTL2D-MOB | Selenia® Dimensions® Mobile digital mammography system is a mobile mammographic system used for capturing digital x-ray images of the breast. | Active | SWEEP | 3DM160101522 | 0,00
MRH2513002 | 2026-05-11 | Radiology General | Hologic, Inc. | Affirm Breast Biopsy Guidance System | STLC-00004 | Affirm Breast Biopsy Guidance System | Active | SWEEP | 82003214032 | 0,00
MRH2513003 | 2026-05-11 | Radiology General | Hologic, Inc. | Affirm Lateral Arm Upright Biopsy Accessory | ASY-03723 | Affirm Lateral Arm Upright Biopsy Accessory | Active | SWEEP | LAT1200861 | 0,00
MRH2535103 | 2026-04-01 | Cardiology | GE Vingmed Ultrasound AS | Vivid | E95 v206 | Vivid E95 v206 | Active | FSWPA | AU85273 | 5915,00 | Equips Transition
MRH2535105 | 2026-04-01 | Cardiology | GE Vingmed Ultrasound AS | Vivid | E95 v206 | Vivid E95 v206 | Active | FSWPA | AU86137 | 5915,00 | Equips Transition
MRH2600603 | 2026-04-01 | Radiology General | GE MEDICAL SYSTEMS, ULTRASOUND & PRIMARY CARE DIAGNOSTICS, LLC | Invenia | ABUS 2.0 | Breast ultrasound imaging system | Active | FSNPA | INVSR224000397 | 3000,00 | Equips Transition
RAD03 | 2026-04-01 | MRH-Hospital Contracted SVCS | Toshiba | TRADP/CM80-XR | TRADP/CM80-XR | Rad Unit, General Purpose | Active | FSNPA | 0000 | 6000,00 | Equips Transition